## Cover Sheet
| PROJECT : | 336MWp/280MWac Marsa Solar PV Project in Oman
| PACKAGE : | 400kV AIS SUBSTATION
Bill of Quantities (BOQ), Substation 400/33kV (02 Nos. 400/33KV TRAFO CUM LINE BAY)

## Structure BOQ HV
Structure BOQ - 336MWp/280MWac Marsa Solar PV Project in Oman
S.No. | Equipment | Reference drawing | Unit | Structure QTY
400KV PSS
1 | Lightning Arrester |  | Nos | 12
2 | Disconnector |  | sets | 4
3 | Current Transformer |  | Nos. | 12
5 | IVT/CVT |  | Nos. | 6
6 | PI (Post Insulator) |  | Nos. | 6
7 | CB |  | Sets | 2
8 | 400kV Towers |  | Lot | 1
9 | 400kV Tower Gantry |  | Lot | 1
10 | Transformer Rail( 52kG/m) |  | meters | 60
11 | Lightning Mast/Pole 30 meters hight |  | Nos. | 3
12 | FIRE WALL- Trafo |  | set | 1
13 | Trafo foundation |  | Nos. | 2
14 | Trafo burnt oil pit |  | Nos. | 1
15 | 30KV Cable support structure |  | set | 2
16 | 30KV LA support structure |  | set | 2
17 | 30KV BPI support structure |  | set | 2
18 | Wave Trap support structure |  | set | 0
19 | Day tank support structure |  | set | 1
20 | DG Exhaust support structure |  | set | 1
21 | Street Lighting Pole |  | Nos. | 20
22 | Cable Trench (1200x1200) WxD |  | Mtr | 100
23 | Cable Trench (2500x1200) WxD |  | Mtr | 50
24 | Cable Trench (1500x1200) WxD |  | Mtr | 800 | FOR 400KV CABLE